Dental ChatBot Evaluation

Image1:

1-2-392-200036-9107-307-23278-20220506-114904-1013584_cropped_jpg.rf.a4f82d6f2b832a79f66fdc4b3278cb6d

Questions:

- What pathological findings are evident on the panoramic radiograph? Provide a comprehensive list.

Pathological Findings on Panoramic Radiograph (Comprehensive List)

1. Impacted Teeth/Structures

- Sign of impacted tooth near #28 upper left (high confidence).

- Sign of impacted tooth near #47 lower left (high confidence).

2. Root-Stump

- Suspicious for root-stump in #28 upper left (low confidence).

3. Carious Lesions

- Suspicious for caries near #26 upper right (low confidence).

- Multiple suspicious carious lesions near #47 lower left (associated with teeth #47; low to moderate confidence).

- Suspicious for caries near #46 lower left (low confidence).

- Suspicious for caries near #16 upper right (low confidence).

Doctor Answer: Small periapical radiolucency seen in the lower left first molar which is root canal treated. Can wait and evaluate the tooth after 3 months again if no pain or complaint.

Multiple restorations seen in 16 and 46 there is secondary decay .

- Does the panoramic X-ray show any systemic involvement of the impacted teeth across the entire dentition?

No systemic involvement of impacted teeth is indicated in the report. The findings are localized to the specific areas near:

- #28 upper left (impacted tooth)

- #47 lower left (impacted tooth)

Doctor Answer:  Panaromic x rays can not evaluate systemic changes. And no impacted tooth seen.

- Could you tell me the exact date and time this dental X-ray was captured?

I'm sorry, but I don't have access to the exact date or time this X-ray was captured. My role is only to explain what's in the report. That’s an excellent question for your dentist, as they will have the full clinical records.

Doctor Answer: Can be checked in an un un- anonymized data.

- What is caries?

Caries is a term for tooth decay or cavities. It occurs when bacteria in the mouth feed on sugars from food, producing acid that erodes the hard outer layer of the tooth (enamel). Over time, this acid can create small holes or damage in the tooth structure.

Doctor Answer: Commonly known as cavity. It’s a decay on the tooth which occurs when palque bacteria produces acid to weaken the enamel. It make a hole which can reach the nerve if left untreated. May require filling or root canal or even extraction.

- In the x-ray, which teeth have caries?

The report identifies suspicious carious lesions near the following teeth (based on low-to-moderate confidence scores):

Tooth #26 upper right (score: 0.3).

Tooth #47 lower left (multiple suspicious carious lesions; scores: 0.18–0.42).

Tooth #46 lower left (score: 0.35).

Tooth #16 upper right (score: 0.3).

Doctor Answer: 16 secondary decay

46 secondary decay

47 ??

- Which tooth or teeth have crowns?

The panoramic radiograph shows suspicious for crowns near the following teeth:

Tooth #45 upper left (score: 0.58).

Tooth #44 lower left (score: 0.79).

Doctor Answer: Bridge with 36 37 38

Crown with 45

Image 2:

output_1-2-392-200036-9107-307-23278-20220506-133233-1013600_cropped_jpg.rf.960460523d0e7db045bd5a8000e4f22b

Questions:

- How many teeth are visible in this panoramic dental X-ray image?

A total of 28 teeth are visible in this panoramic dental X-ray image. The report confirms that all four wisdom teeth (#18, #28, #38, #48) are fully erupted and not impacted, with no missing teeth identified.

Doctor Answer: Total 30 teeth are visible

- Where is tooth #15 located in this panoramic X-ray?

Tooth #15 is located in the upper left quadrant of the panoramic X-ray, specifically in the maxillary left region. This corresponds to the left upper bicuspid (premolar) area, positioned between the canine (#13) and the first molar (#16).

On the X-ray, its exact location is marked at the 2D coordinate [607, 341] (as per the structured caption).

Doctor Answer: it’s the right upper middle tooth the second premolar

- How many wisdom teeth can be identified in this panoramic image?

The panoramic image identifies four wisdom teeth, all of which are fully erupted and not impacted. These include:

Tooth #18 (upper left wisdom tooth)

Tooth #28 (upper right wisdom tooth)

Tooth #38 (lower right wisdom tooth)

Tooth #48 (lower left wisdom tooth)

Doctor Answer: all 4 wisdom are present completely reupted.

- How many teeth show periapical lesions in this panoramic X-ray?

Based on the structured data and textual report provided, no teeth show definitive periapical lesions in this panoramic X-ray.

Doctor Answer: none

- Can you tell me my doctor name?

I'm sorry, but I don't have access to personal information like your doctor's name. My role is only to explain what's in this report. For details about your care provider, I recommend contacting your dental office directly.

Doctor Answer:

- What is periapical lesions?

A periapical lesion is a dark area (radiolucency) seen on an X-ray at the tip of a tooth's root. It typically indicates inflammation or infection in the bone surrounding the root, often caused by untreated tooth decay, trauma, or a failed root canal. Symptoms may include pain, swelling, or sensitivity, though some lesions may be asymptomatic.

Doctor Answer: It is a dark area around the root tips of the tooth which be due to trauma, infection , caries, incomplete root canal filling.

Image 3:

output_1-2-392-200036-9107-307-23278-20220509-204855-1013836_cropped_jpg.rf.6b68d44e7224a859ddda7ade0c9636a4

Questions:

- What types of dental treatments are visible in this panoramic X-ray?

The panoramic X-ray does not show any prior dental treatments (e.g., fillings, root canals, implants, or extractions) in the historical record.

Doctor Answer: No prior treatment seen.

- What if I dont follow the treatment plan provided?

If the treatment plan is not followed, the risks to your oral health will depend on the specific issues noted in the report. Here’s what could happen:

1. Untreated Caries (Tooth Decay)

Risks:

Progression of decay: Cavities near teeth #17, #18, #26, #36, #46, #47, #14, and #15 may deepen, reaching the pulp (nerve) and causing tooth sensitivity, pain, or infection.

Abscess formation: Untreated infections could lead to a dental abscess, which may require emergency treatment or antibiotics.

Tooth loss: Severe decay may weaken the tooth structure to the point of fracture or loss.

2. Impacted Molar (Near #37)

Risks:

Cyst or tumor development: Impacted teeth can sometimes form dental cysts over time, which may damage surrounding bone or teeth.

Chronic inflammation: The impacted molar may cause recurring pain, swelling, or gum infections.

3. Root-Stump (Near #43)

Risks:

Infection: A residual root fragment could become a source of chronic infection or inflammation.

Bone loss: Untreated root stumps may lead to localized bone resorption (loss of supporting bone).

4. General Systemic Risks

Dental infections can spread to other parts of the body in rare cases (e.g., sepsis, though this is uncommon with prompt care).

Doctor Answer:

The treatment suggested is extraction of grossly decayed 17 and root stump 44. Being carious can be a potential sourse of infection and food loadgement which also causes halitosis. This may further cause inflammation of the tissues and pus formation.

After extraction and complete healing a replacement of the tooth is important to balance the occlusion.

Apical radiolucency seen in 34 cervical deep caries seen suggestive of root canal and crown. If untreated can fracture.

Caries with 18 suggestive of RC or extraction. Can cause pain and inflammation.

- Which teeth have dental crowns in this panoramic dental image?

Based on the information provided in the report, no dental crowns are visible or documented in the panoramic X-ray.

Doctor Answer: None

- How much will it cost for the treatment?

I'm sorry, but I don't have that information. My role is only to explain what's in this report. That's an excellent question for your dentist.

Doctor Answer: It depends on what treatment you want to start . Please visit the clinic for a conversation with the dentist.

- What is root-stump?

A root-stump refers to a fragment of a tooth root that remains in the jawbone after the visible part of the tooth (the crown) has been lost or removed. This can occur due to:

Severe decay or damage leading to tooth loss.

Incomplete extraction of a tooth (e.g., during removal, only the crown was taken out, leaving the root behind).

Doctor Answer 	It a fragment of a tooth which was carious and have broken due to severe cavity and has lost its crown structure.

- Where are my wisdom teeth?

Your wisdom teeth (#18 and #28) are both present and fully erupted in the panoramic X-ray. Here’s their location:

- Tooth #18 (FDI system): This is your lower left wisdom tooth (left mandibular third molar).

- Tooth #28 (FDI system): This is your lower right wisdom tooth (right mandibular third molar).

The report confirms these teeth are not impacted (meaning they have fully emerged and are positioned normally in the jawbone). No pathological issues are noted for these teeth in the current findings.

Doctor Answer:

All the last molars in your mouth in all four corners upper right and left and lower right and left back tooth are your wisdom tooth.

Image 4:

output_1-2-392-200036-9107-307-23278-20220607-185425-1016359_cropped_jpg.rf.66ddaadcd30704971fbd176faedb276f

Questions:

- What is restoration?

A restoration in dentistry refers to a treatment used to repair or replace damaged, decayed, or missing parts of a tooth. In your report, a prior restoration near tooth #46 is noted, which likely means a filling or similar treatment was placed to address decay or structural damage. This type of intervention helps preserve the tooth’s function and appearance.

Doctor Answer: it is something a dentist puts on or in a tooth to fix decay, cracks, or wear.

Filling
Material placed in a tooth after removing decay. Can be white composite or silver amalgam.

Crown
A cap placed over a tooth when a large part is damaged or after a root canal.

Onlay or inlay
A lab-made piece used when the damage is bigger than a filling but smaller than a crown.

Bonding
Tooth-colored resin added to repair chips or small defects.

- Can I cure my dental issues with $50?

I’m unable to provide cost estimates or financial advice for treatments, as this report does not include such information. My role is to explain the findings and recommendations in your report. For questions about cost or treatment options, I recommend discussing directly with your dentist—they can guide you on available solutions and financial considerations.

Doctor Answer:

- Where is tooth #37 located?

Tooth #37 is a lower right first molar located on the right side of your lower jaw. It is a large chewing tooth, and the report notes two key findings related to it:

Impacted tooth nearby (likely a wisdom tooth or adjacent molar).

Suspicious for caries (likely decay) in the area.

Doctor Answer:  it is the lower left second molar .

- How many caries are there and give me their tooth number?

The report notes 3 suspicious areas of caries (likely decay) near the following teeth:

Tooth #25 (lower right side of the jaw)

Tooth #37 (lower right first molar)

Tooth #47 (lower left first molar)

Doctor Answer: 26 mesial caries

36 	 occlusal caries need to check clinically

37 Distal caries

47 Distal caries

- How many wisdom teeth are there in the x-ray image?

Based on the panoramic X-ray analysis, no wisdom teeth were identified in the image.

Doctor Answer: All 4 wisdom are present which are impacted suggestive of surgical extraction if it does create pain or any kind of discomfort in the future.

- Should I change my diet to stop caries?

The report recommends dietary counseling as part of a preventive strategy to reduce cariogenic (cavity-causing) risk, especially for areas showing suspicious caries (teeth #25, #37, and #47). While dietary changes can help slow or prevent further progression, they cannot reverse existing decay. Key dietary adjustments include:

- Reducing sugar and acidic foods/drinks (e.g., soda, candy, citrus fruits) to limit bacterial acid production.

- Avoiding frequent snacking to reduce prolonged acid exposure.

- Prioritizing starchy foods (e.g., bread, pasta) mindfully, as they can cling to teeth and feed plaque bacteria.

- Hydrating with water to rinse away food particles and acids.

- Eating crunchy vegetables (e.g., carrots, celery) to naturally clean teeth through chewing.

However, diet alone cannot fully address caries. The report emphasizes that suspicious caries near #25, #37, and #47 should be re-evaluated in 3–6 months, with restorative treatment considered if progression occurs. For personalized dietary guidance, your dentist can help tailor recommendations to your specific needs.

Doctor Answer: Suggestive of avoiding sugars or not taking sugary or sticky food in breaks.

Rinsing after every meal and brushing two times a day. Using floss at least 2 times a week.

Eating crunchy fruits and vegetables(fibrous).

Visit to a dentist every 3-6 months.

Image 5:

output_1-2-392-200036-9125-4-0-554687918-187422952-3503410942_cropped_jpg.rf.33721f7185db3c20a76890960b3b8378

Questions:

- What is rc-treated?

In general dental terminology, "rc-treated" typically stands for "root canal-treated", which refers to a tooth that has undergone root canal therapy (a procedure to remove infected or damaged pulp tissue from the inner chamber of a tooth).

Doctor Answer:  A tooth had a root canal done in the past.

Something is now wrong (pain, infection, leakage, new decay, or incomplete cleaning).

needs to redo the entire root canal to clean, disinfect, and refill the canals again.

Why a re-RCT might be needed:

New decay under an old filling or crown

A missed canal during the first RCT

Persistent infection

A broken or leaking filling

Pain returning after months or years

- What are the recommendations?

Preventive Measures

- Oral Hygiene Reinforcement: Focus on cleaning interproximal areas and around impacted teeth (#38, #48) to reduce caries risk.

- Fluoride or Fissure Sealants: Consider preventive treatments for at-risk teeth to strengthen enamel and prevent decay progression.

Follow-up Protocol

- 6-Month Recall: Reassess impacted wisdom teeth (#38, #48) and monitor for caries progression.

- Caries Management: If confirmed, prioritize restorative treatment for affected teeth (#18, #14, #46, #28).

- Surgical Consultation: Refer to a specialist for impacted wisdom teeth if pathology (e.g., resorption, infection) emerges.

Doctor Answer:  extraction of 18 and 28 as its deeply carious.

Recall visit after 6 months to check 38 and 48. As it’s the last molar always inaccessible while brushing.

- Please suggest more recommendations for root-stump.

I'm sorry, but I don't have additional recommendations for the root-stump beyond what’s included in the report. My role is only to explain what’s in your findings. For further evaluation or treatment options, I recommend discussing directly with your dentist.

Doctor Answer:

- Do I need surgery?

Based on the report, surgery is not currently recommended as an immediate next step, but it may be considered in the future depending on clinical developments. Here’s the breakdown of potential scenarios where surgery might be advised:

1. Impacted Wisdom Teeth (#38 and #48)

- Current Status: Both teeth are impacted (stuck beneath the gum or bone) but not yet causing clear pathology (e.g., infection, resorption, or cyst formation).

- Surgical Consideration:

If symptoms develop (pain, swelling, infection) or complications arise (e.g., damage to adjacent teeth, cyst formation), surgical removal may be recommended.

Your dentist may suggest preventive extraction if there’s a high risk of future issues (e.g., limited space for eruption, poor oral hygiene around the impacted teeth).

2. Root Stump Near #28 (Lower Right Wisdom Tooth)

- Current Status: A root fragment is visible near the apical region of #28.

- Surgical Consideration:

If the root stump is asymptomatic and non-pathologic, it may be monitored.

If it causes pain, infection, or interferes with adjacent teeth, surgical removal could be necessary.

3. Caries and Restorations

No surgery is required for caries or restorations at this time. These findings are being monitored for progression, and treatment (e.g., fillings or restorations) would likely be non-surgical unless decay extends into the pulp (which would require root canal therapy).

Doctor Answer: The wisdom suggestive of extractions may need simple extraction without any osteotomy.

- How do I access my X-ray image?

I’m unable to assist with accessing or retrieving your X-ray image directly, as I don’t have access to external systems or files. For copies of your X-ray images or digital copies, please contact your dentist or the dental office where the imaging was taken. They will guide you on how to obtain a copy of your records. Let me know if you’d like further clarification on the findings in your report!

Doctor Answer: You can visit the dental clinic or an imaging centre where you have removed the x ray they can provide you a hard copy or can email you .

- Where is the tooth #17?

Tooth #17 is located in the upper right quadrant of your mouth. Specifically, it is the first molar on the upper right side (also known as the upper right 6-year molar). This tooth is positioned at the back of the upper jaw, adjacent to the cheek, and is part of the chewing surface.

Doctor Answer:

Upper right second molar.